## Slide 1: Aerosol droplets containing nanomaterials ejected from vial during sonication

## Slide 2: Factors influencing control selection

## Slide 3: Recommendations for Exposure Control
Elimination or Substitution
Isolation and Controls
Administrative Controls
Personal Protective Equipment

## Slide 4: Isolation and Engineering Controls
Containment
Ventilation
  General exhaust ventilation (GEV)
  Local exhaust ventilation

## Slide 6: Administrative Controls
Training
Labeling and Storage

## Slide 7: Personal Protective Equipment
Protective Clothing
Respirators

## Slide 9: Local Exhaust Ventilation

## Slide 10: Conventional (constant-flow) laboratory chemical hood

## Slide 11: Laboratory bypass hood

## Slide 12: Laboratory constant-velocity hood

## Slide 13: Glove box enclosure

## Slide 14: Close-up of a nanopowder transfer operation.

## Slide 16: Fire and Explosion Control

## Slide 17: Management of Nanomaterial Spills
Barricade tape
Nitrile or other chemically impervious gloves
Elastomeric respirator with appropriate filters
Adsorbent material
Wipes
Sealable plastic bags
Walk-off mat
HEPA-filtered vacuum
Spray bottle with deionized water or other appropriate liquid

## Slide 18: Thank You